## TU1 H1'25
Technology Certification: Tech Update | [6 empty] | Date: 2025-05-20
Surveillance & Access Control Solutions (TU1, v1.2, H1 2025) | [6 empty] | Items: 24
Video Surveillance Solutions
Fixed surveillance (IP cameras)
| Cam_IP1 | Cam_IP2 | Cam_IP3 | Cam_IP4 | Cam_IP5
Profile | Indoor IP camera | Outdoor IP camera | PTZ IP camera | Thermal IP camera | Specialised IP camera
Form factor | Bullet / Turret / Dome / Fisheye
Optics | 15-120° FOV options / Vari-focal options / PTZ option
Resolution | 2MP / 4MP / 6MP+ ¦ 20/25 fps |  |  | 120p | 2MP+ ¦ 20/25 fps
Image quality | SANS 10222 ¦ WDR/BLC/HLC ¦ Low light < 0.5 lux ¦ IR
Network | 100Mb Ethernet (PoE)
Capabilities | Alarms/Alerts, WDR, IR, Analytics pref, Rule-based alarms, Edge storage pref, Audio pref, I/O ports pref, App platform pref
Standards | ONVIF, IEC 62676, H.264, H.265, RTSP, HTML5, SSL/TLS, SANS 10222
Environmental | - | IP66, IK08 | IP66 |  | -
Management | SNMP, Web, Remote mgmt tool
SLA | 5-year on-site, 4-hour response, 8-hour fix
Mobile surveillance (mobile/wearable cameras and sensors)
| Cam_Body1 | Cam_Body2 | Cam_Vehicle1 | Cam_Vehicle2 | Cam_UAV1 | Cam_UAV2
Profile | Basic body camera | Advanced body camera | Basic vehicle camera | Advanced vehicle camera | Basic camera UAV | Advanced camera UAV
Capture quality | 1080p ¦ 25fps |  | 2MP / 4MP / 6MP ¦ 20/25fps |  | 8MP | 12MP
Storage | 64GB ¦ Loop recording ¦ 2/4 hours continuous |  |  |  | 64GB | 128GB
UI | 1.5" display, ergonomic buttons | 3" touch display, ergonomic buttons | - | Display pref | Controller / Ground station - flight controls + touch display
Connectivity | WiFi, BT, USB | WWAN, WiFi, BT, USB | USB | WiFi, USB, WWAN | Digital video, WiFi pref, USB pref
Capabilities | Event capture, GPS, 120+° FOV, G-sensor, Voice support, GPS tracking pref, Real-time video streaming pref, VOIP, PTT, MDM, ONVIF pref |  |  |  | Auto pilot, GPS, 3km controller range, 8km flight range
Standards | H.264, AES, SSL/TLS |  |  |  | CAA, H.264/H.265
Battery life | 8 hrs recording | 12 hrs recording | - |  | 20 min flight time | 30 min flight time
Environmental | IP67, IK10, 1.8m drop |  | - |  | IP42 pref | IP44
Accessories | Charger/dock, mount/clip, AC adapter |  | Mounting kit, cables |  | Sensor & Payload options, Controller, Charger
Management | Video + Event Mgmt, Dev Mgmt + Config tool, Controlled data upload (real-time pref)
SLA | 3-year on-site, 4-hour response, 8-hour fix
Video Surveillance Infrastructure
| NVR1 | NVR2 | NVR3 | VMS1 | VMS2 | Stor_VS1 | Stor_VS2
Profile | Basic NVR | Midrange NVR | Advanced NVR | Basic video management system | Advanced video management system | Basic video surveillance storage | Advanced video surveillance storage
Recording resolution | 4MP | 8MP | 12MP | 4MP | 12MP | -
Channels/devices | 8 | 16 | 32 | 20 | 500 | -
Storage | 4TB | 8TB | 16TB | - |  | 10TB | 50TB
Capabilities | Alarms, Basic analytics | Alarms, Advanced analytics | Alarms, AI analytics | Monitoring + Alerting, Analytics, Reporting, Evidence Mgmt, AI analytics (Face, Vehicle, LPR, People Counting) |  | RAID, SATA/SAS, Hot-swap HDD + PS
Network (uplink) | GigE |  | 2x GigE | - |  | GigE | 2x GigE
Network (downstr) | 8x 100Mb POE |  | - | -
Standards | IEC 62676, ONVIF, H.264, H.265, MPEG-4, MJPG, RTSP, IPv4, IPv6, HTML5, SSL/TLS, SANS 10222 |  |  |  |  | IPv4, IPv6, HTML5, SSL/TLS, CIFS, NFS
Management | KVM | KVM, Web, SNMP pref, Remote mgmt tool |  | - |  | Web, SNMP pref
SLA | 5-year on-site, 4-hour response, 8-hour fix
Physical Access Control Solutions
| Acc_Reader1 | Acc_Reader2 | Acc_Reader3 | Acc_Reader4 | Acc_Ctrlr | Acc_Mgmt
Profile | Access reader: PIN/card/token | Biometric reader: fingerprint | Biometric reader: face | Biometric reader: touchless | Controller for door/gate access | Access control management system
Capabilities | PINpad/ Smartcard/ Tag/Token access | Biometric access: Finger / Face / Iris / Palm etc. |  |  | 1 - 4 doors | Up to 100 entrances
Access standards | ISO 7816 / ISO 14443 / NFC / RFID / MiFare / BLE, etc. |  |  |  | OSDP, Wiegand
Performance | Fast read / recognise (<1sec) / 99% accuracy (FAR/FRR) / Anti-spoofing (bio readers) / Anti-tamper / Indoor/outdoor / FBI PIV-IQS / FIPS 201 |  |  |  | -
Security / industry standards | SANS 10222 Part 2 ¦ UL294 ¦ OSDP (IEC 60839) ¦ Wiegand / RS-485 / TCP/IP ¦ ONVIF ¦ IP66 / IK08/IK09 (outdoor) ¦ Support for 3rd-party access control/surveillance systems |  |  |  |  | Windows / Linux / Virtual
Connectivity | LAN / WLAN |  |  |  |  | -
Management | Web-based management, Configuration + User management tool
SLA | 5-year on-site, 4-hour response, 8-hour fix
Additional SAC components (certification not required)
Non-certified SAC products and components, requirements defined in ad hoc RFQ/RFP:
Gates, turnstiles, booms, vehicle barriers
Lighting (visible + IR)
Analogue alarm systems
Sensors (beams, PIR, RFID, radar, etc.)
X-ray scanners
Metal Detectors (Portal + Handheld)
Civil works: trenching, etc.
All other related components not covered in the existing scope and categories
Services: Bundled and Ad Hoc
All related services, including Consultation, Design, Specification, Installation, Configuration, Integration, Commissioning, Training, Support,
Operations and Maintenance, System management, and End-of-life services.
Notes/Conditions
1. This Tech Update is to be implemented by H1 2025, and will remain in force until superseded by the next version.
2. Products are certified against the Detail Spec: SAC, not this document. Make sure that the latest version of the Detail Spec is used for certifications and proposals (the sheet header will indicate revision and TU). The correct version is always available at www.sita.co.za/prodcert.htm
3. This document addresses the high-level specs, but it does not contain the detail requirements, or upgrades and accessories. These can be found in the Detail Spec (see above).
4. Once these changes are implemented, the new baseline standard becomes mandatory, and all new products must comply.
5. As per the Technology Certification Process, all OEMs are required to participate in the TU RFC process: non-response will be interpreted as agreeing with the proposed changes.
6. These specs are minimum requirements, therefore any proposal/capability that equals or improves on the stated requirement will be acceptable.
7. "Pref/Preferred" indicates a non-mandatory requirement, or possible future direction.
8. Any required networking items (incl. LAN/WLAN equipment and structured cabling) must be certified via the NET technology domain.