# Requirements Checklist:

# Access Control Solution

This checklist is to be used by Departments to document business requirements when publishing a request to industry for an access control solution. The checklist helps to define the parameters and goals for the solution, enabling integrators to provide informed designs and suitable proposals.

| Summary of access control business requirement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| High-level business need, including the areas/entrances to which access control must be implemented. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site/Project details |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Click boxes to tick with |  |  |  |  |  |  |  |  |  |
| Site / project name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location of site: physical address (province, town, street, building, floor, room) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site coordinates (latitude,longitude) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Primary contact person for project |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact details (cellphone, e-mail) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Projected date for supplier site inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Describe access to site for service provider (business hours + after hours) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is this a new installation or an upgrade of an existing system? |  |  |  |  |  | Upgrade |  |  |  |  |  |  |  |  |  |  | New |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Integration required with existing system or devices? Specify if yes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Existing access control equipment installed on site, if any |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site size classification |  |  |  |  |  |  |  |  |  | Small |  |  |  |  |  |  |  |  |  | Medium |  |  |  |  |  |  |  |  |  |  | Large |  |  |  |
| Detailed floor plans available? (must be included in RFP if yes) |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Functionality required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Click boxes to tick with |  |  |  |  |  |  |  |  |  |
| Indoor readers |  |  | 24-hour access? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Outdoor readers |  |  | Integration with control centre / surveillance system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Perimeter security |  |  | Central control room |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| System capacity and capability |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| List all entrances where access control must be implemented (number access points on floor plan) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Number of users (current + projected growth over 5-10 years) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Estimated total number of transactions per day |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Traffic level per door (e.g. front door vs. basement storeroom) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Peak traffic estimate: highest-volume entrance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reliability requirements: Uptime, redundancy |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| System architecture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Local or remote access control server |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Physical environment: number of access points/gates/doors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Level of security needed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Entrances with dual readers (entry + exit) vs. single reader + exit button |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Types of entrances: door vs turnstile vs boom |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Technical requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Click boxes to tick with |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Types of access control modalities: | PIN |  |  | Token |  |  |  |  |  |  |  | Biometric |  |  |  |  |  |  |  |  |  |  | Combo |  |  |  |  |  |  | Touchless |  |  |  |  |
| General environment: Indoor / Outdoor, Industrial / Chemical, etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cater for people with disabilities? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Specific access control requirements: | Anti-passback |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Time and attendance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Visitor management |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Intercom |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Roll call |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | People counting |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Maintain occupancy levels |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Other: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Device requirements: | Indoor |  |  |  |  |  |  | Outdoor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Specialised |  |  |  |  |  |  |  |  |  |
|  | Stand-alone |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Controller-based |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| User interface: | Display |  |  |  |  |  |  |  |  |  | Touch |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Intercom |  |  |  |  |  |  |  |  |
| Existing devices to be replaced? Controllers, cards/tokens, readers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Backup power requirement – how long must system run during power outages |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Envisioned future upgradeability of solution |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Describe security considerations w.r.t. access control system (including user details, biometric templates, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Describe unique technical requirements, or other points not covered above (if any) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Operational details |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Does the site have dedicated security /technical staff allocated, or is hiring of new permanent staff planned? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Describe skill level and experience of staff (administrators, operators and support staff) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Details of additional maintenance and support SLA (over and above standard 5-year SLA as specified by SITA) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| High-level floor plan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional info |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

#### Notes

This document must be included with the RFQ/RFP published via the designated SCM process, and also summarised in the main request for proposal document. The SAC Deployment Guide has additional RFP/RFQ guidelines as well as a template that must be incorporated into the standard SCM documents.

The RFQ/RFP must conform with conditions and specifications that already form a part of the relevant Transversal Contract or SITA technical specification.

To ensure an open and fair process, the RFQ/RFP may not include the names or technologies of any brand, product or supplier. Exceptions can only be made for business or IT architecture reasons: e.g. if a product has been selected as a Departmental standard, or if the RFQ must be brand-specific to ensure integration into an existing solution. Consumables (e.g. projector lamps) fall into this category, since they must be procured in a brand-specific way to prevent fruitless expenditure.